M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING
130 CARPET TILING:

Interface produces an extremely wide range of carpet tiles. Tiles are available with tufted cut and loop pile, fusion bonded cut pile and micro-tuft and multi-level pile. Carpet tiles conform to the requirements of BS EN 1307. In addition to the supply of floor coverings, Interface also provides a routine carpet maintenance programme, using the Image range of cleaning materials. For further information contact Interface’s Technical Department.

Biosfera I: Micro Carpet Tiles
A Microtuft patterned level loop pile tile, manufactured from 100% recycled BCF solution dyed nylon PA 6, contains post and pre-consumer recycled content, with Graphlex® backing. Available in 12 colourways and carries a Class 33 heavy contract classification. The tile is 4.8mm thick and is available in 500 x 500mm size as standard. Size options are available with minimum quantities.
Use our ReEntry service to take away existing Interface tiles which will be cleaned and repurposed through our ReEntry partners (Registered charities).

Simply add our Cool Carpet service to your order to make your purchase carbon neutral.  Consult with Interface for technical literature and to obtain samples.
 
Location: Heavy use areas. Office, retail, hospitality, leisure and educational areas.

Base: Please refer to Interface installation guide for details of suitability.

- Preparation: Subfloors should be prepared in accordance with BS 5325 or corresponding National and European Standards.

- Fabricated Underlay: Should be laid where required over existing timber bases.

Carpet Tiles:

- Manufacturer: Interface

- Product reference: Biosfera I: Mirco Carpet Tiles

- Type: Microtuft patterned level loop pile

BS EN 1307 classification:

- Category: Type 1

- Level of use class: Heavy Contract 33

- Luxury rating class: LC1

Size: 500 x 500mm standard size.
Colour/pattern: 7171 Carrara/7172 Jura/7173 Valdeorras / 7701 Botticino / 7702 Crema Luna / 7703 Quarzo / 7704 Romano Classico / 7705 Opale Naturale / 7706 Rosso Asiago / 7707 Azuro Cielo / 7708 Zircona / 7709 Cipollino
Method of laying: Quarter Turn

Interface Europe Ltd., Shelf Mills, Shelf, Halifax, West Yorkshire HX3 7PA

Tel: 01274 690690, Fax: 01274 694095.

Customer Services Tel: 08705 304030, Fax: 01274 698300,

Email: enquiries@interface.com     Web: www.interface.com