M50 RUBBER/ PLASTICS/ CORK/ LINO/ CARPET TILING/ SHEETING
130 CARPET TILING:

Interface produces an extremely wide range of carpet tiles. Tiles are available with tufted cut and loop pile, fusion bonded cut pile and micro-tuft and multi-level pile. Carpet tiles conform to the requirements of BS EN 1307. In addition to the supply of floor coverings, Interface also provides a routine carpet maintenance programme, using the Image range of cleaning materials. For further information contact Interface’s Technical Department.

Elevation III
A Microtuft patterned level loop pile tile, manufactured from 100% recycled solution dyed nylon with Graphlex® backing. Available in 20 colourways and carries a Class 33 heavy contract classification. The tile is 4.8mm thick and is available in 500 x 500mm size as standard. Size options are available with minimum quantities.
Use our ReEntry service to take away existing Interface tiles which will be cleaned and repurposed through our ReEntry partners (Registered charities).

Simply add our Cool Carpet service to your order to make your purchase carbon neutral.  Consult with Interface for technical literature and to obtain samples.
 
Location: Heavy use areas. Office, retail, hospitality, leisure and educational areas.

Base: Please refer to Interface installation guide for details of suitability.

- Preparation: Subfloors should be prepared in accordance with BS 5325 or corresponding National and European Standards.

- Fabricated Underlay: N/a. Carpet tiles to be adhered direct to the subfloor.

Carpet Tiles:

- Manufacturer: Interface

- Product reference: Elevation III

- Type: Microtuft patterned level loop pile

BS EN 1307 classification:

- Category: Type 1

- Level of use class: Heavy Contract 33

- Luxury rating class: LC1

Size: 500 x 500mm standard size.
Colour/pattern: 4199001 Colletino/ 4199002 Brocatello/ 4199003 Palissandra/ 4199004 Cioccolato/ 4199005 Fior Di Pesco/ 4199006 Ceppodigre / 4199007 Grigionilo/ 4199008 Portoro/ 4199009 Carrara/ 4199010 Jura/ 4199011 Valdeorras/ 4199012 Nero Maquina/ 4199013 Botticino/ 4199014 Romano Classico/ 4199015 Crema Luna/ 4199016 Opale Naturale/ 4199017 Cipollino/ 4199018 Aqua Marina/ 4199019 Azuro Cielo/ 4199020 Zircona

Method of laying: Quarter Turn

Interface Europe Ltd., Shelf Mills, Shelf, Halifax, West Yorkshire HX3 7PA

Tel: 01274 690690, Fax: 01274 694095.

Customer Services Tel: 08705 304030, Fax: 01274 698300,

Email: enquiries@interface.com     Web: www.interface.com